## Efficacy and Efficiency
Nordisk Møde for Forbedret Vejudstyr
Efficacy and Efficiency of Road Lighting
Installation 1
Pole spacing [m] | 35
Light point height [m] | 8
Lamp power [W] | 70
Ballast power [W] | 9
Geometry | Carriageway | Surroundings
Requirements [cd/m2 or lx] | 0.5 | 2.5
Number of lanes | 2 | 2
Width [m] | 3.5 | 3.5
Area [m2] | 245 | 245
Q0/Qd | 0.07 | 0.65
Minimum illuminance [lx] | 7.1429 | 3.8462
Luminous flux [lm] | 1750 | 942.3077
Fminimum [lm] | 2692.3077
Factual [lm] | 6600
hinstallation | 0.40793
hsystem [lm/W] | 83.5443
htotal [lm/W] | 34.0798
Installation 2
Pole spacing [m] | 38
Light point height [m] | 9
Lamp power [W] | 100
Ballast power [W] | 14
Geometry | Carriageway | Surroundings
Requirements [cd/m2 or lx] | 0.75 | 2.5
Number of lanes | 2 | 2
Width [m] | 4 | 3.5
Area [m2] | 304 | 266
Q0/Qd | 0.07 | 0.65
Minimum illuminance [lx] | 10.7143 | 3.8462
Luminous flux [lm] | 3257.1429 | 1023.0769
Fminimum [lm] | 4280.2198
Factual [lm] | 10700
hinstallation | 0.40002
hsystem [lm/W] | 93.8596
htotal [lm/W] | 37.5458
Remarks
Cell where user must supply information
Cell where user can supply information